Evaluation Sheet for Capex Model

| Project Specification. Client Name; Reddy's. Project Location; Rohinjan Gaon. Project Size (KW); 8.40. Cost per KW ex GST; ₹; 62,000. Project Cost ex GST; ₹; 5,20,800. GST @ 8.9%; ₹; 46,351. Total Project Cost inc GST; ₹; 5,67,151. Client's Current Grid Tariff /Unit; ₹; 18.00. Plant Performance. Average Annual Generation (KW); 11,592.00. Average Monthly Generation (KW); 966.00. Estimated Year-on-Year degradation; 0.70 - 0.80%. O&M Cost. Cost per KW of maintenance; ₹; 750.00. Total Cost per year; ₹; 6,300.00. Yearly escalation in O&M Cost; 3.00%. |  | Accelerated Depreciation Benefits. 1st year - 25% tax savings on 40% depreciation; ₹; 52,080.00. 2nd year - 25% tax savings on 40% depreciation; ₹; 46,872.00. 3rd year - 25% tax savings on 20% depreciation; ₹; 21,092.40. Total; ₹; 1,20,045.00. Return On Investment (ROI) Calculation. Project Cost ex GST; ₹; 5,67,151.20. Additional / Subsidy Benefits; ₹; 1,20,045.00. Cost Via Grid; ₹; 2,31,376.32. ROI in Years; 1.93. Monthly Payments; ₹; -. Total Plant cost inc Interest; ₹; -. |
| --- | --- | --- |

| Period | Unit Generation | Cost via Grid | Solar Plant EMIs | O&M Cost | GSC Charges | AD Benefit | Savings via Solar |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Year 1 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 2 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 3 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 4 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 5 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 6 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 7 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 8 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 9 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 10 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 11 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 12 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 13 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 14 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 15 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 16 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 17 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 18 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 19 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 20 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 21 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 22 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 23 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 24 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Year 25 | 11,592.00 | ₹ 2,08,656.00 | ₹ - | ₹ 6,300.00 | ₹ 22,720.32 | ₹ 52,080.00 | ₹ 2,83,456.32 |
| Total over 25 years | 2,69,863.33 | ₹ 48,57,539.87 | ₹ - | ₹ 2,16,886.76 | ₹ 5,28,932.12 | ₹ 1,20,044.40 | ₹ 52,89,629.63 |